## Sheet1
NAME | SYSTEM | FOLLOWUP | CONTACT | ADDRESS | CITY | STATE | COUNTY | ZIP | PHONE | START_DATE | STOP_DATE | REPT_DATE | ROOM | PCI_LITER
New Century Middle | Moore County Schools | No | Walter Powers |  | Carthage | NC | Moore |  |  | 1998-05-18 | 1998-05-20 | 1998-05-22 | 31G | 0.3
New Century Middle | Moore County Schools | No | Walter Powers |  | Carthage | NC | Moore |  |  | 1998-05-18 | 1998-05-20 | 1998-05-22 | 22C | 0.3
New Century Middle | Moore County Schools | No | Walter Powers |  | Carthage | NC | Moore |  |  | 1998-05-18 | 1998-05-20 | 1998-05-22 | 21D | 0.3
New Century Middle | Moore County Schools | No | Walter Powers |  | Carthage | NC | Moore |  |  | 1998-05-18 | 1998-05-20 | 1998-05-22 | 05C | 0.3
New Century Middle | Moore County Schools | No | Walter Powers |  | Carthage | NC | Moore |  |  | 1998-05-18 | 1998-05-20 | 1998-05-22 | 01A | 0.3
[13 empty] | Average: | 0.3
[13 empty] | Median: | 0.3
[13 empty] | Max: | 0.3
[13 empty] | # Rms Tst | 6
[13 empty] | # Rms >4 | 0